Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice, Fifth Edition.

This section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.

Section numbers are from MasterFormat 2010 Update.

SECTION 26 05 33.54

INDUSTRIAL GRADE CONDUIT BODIES

Specifier Notes:  Delete any information below in Parts 1, 2 or 3 which is not required or relevant for the project.

PART 1 – GENERAL

1.01	SUMMARY

A.	This section includes industrial grade conduit bodies for use with threaded Intermediate Metal Conduit Type IMC and Rigid Metal Conduit Type RMC.

B.	Related Sections:

1. 	Section 26 05 33.52 	Commercial Grade Conduit Bodies

2.	Section 26 05 33.14	Corrosion Resistant Conduit System

1.02	REFERENCES

A.	Underwriters Laboratories, Inc. (UL):

1.	UL514A		Metallic Outlet Boxes

2.	UL514B		Conduit, Tubing and Cable Fittings

B.	National Fire Protection Association (NFPA):

1.  	NFPA 70	 	National Electrical Code (NEC)

C.	Federal Specification

1.	W-C-586/A-A-50563	Conduit Outlet Boxes, Bodies, and Entrance Caps, Electrical

D.	Canadian Standard Association (CSA):

1. 	CSA C22.2 No. 18	Outlet Boxes, Conduit Boxes, Fittings and Associated Hardware

2.	CSA C22.1		Canadian Electrical Code Part I

1.03	SUBMITTALS

A.	Comply with Section 01 33 00 – Submittal Procedures.

B.	Product Data:

1. 	Submit manufacturer’s descriptive literature and product specifications for each product.

2. 	Manufacturer’s product drawings.

1.04	QUALITY ASSURANCE

A.	Manufacturer Qualifications: Products shall be free of defects in material and workmanship.

B.	Furnished products are listed or classified by third party agencies as suitable for the intended purpose.

  - WARRANTY

- Product is warranted free of defects in material and workmanship.

- Product is warranted to perform the intended function within design limits.

PART 2 – PRODUCTS

  - GENERAL

- Conduit bodies shall be constructed for applications in accordance with the National Electrical Code Article 314.

- Conduit bodies with threaded hubs shall have tapered NPT threads.

- Conduit bodies shall have an integral bushing to protect wire insulation.

- Conduit bodies shall be available in Form 7

- Conduit bodies shall be constructed of Feraloy Iron or Copper free aluminum.

- Conduit bodies shall be UL Listed to UL 514B, and CSA Certified to C22.2 No. 18.

- Conduit bodies shall be installed in the conduit systems to:

  - connect conduit sections.

  - provide pull outlets when conductors are being installed.

  - provide easy access to splices in branch conductors.

  - make 90º bends in conduit runs,

  - provide mounting outlets for wiring devices and lighting fixtures.

  - provide access to conductors for maintenance and future system changes.

2.02	MANUFACTURERS

A.	Acceptable Manufacturers:

Eaton Crouse-Hinds

1201 Wolf Street

Syracuse, NY 13208

www.crouse-hinds.com

Products:

- Eaton Crouse-Hinds Form 7 Conduit Outlet Bodies

2.03	DESIGN AND PERFORMANCE REQUIREMENTS

- Condulet Bodies shall be dust-tight. Certified to UL50E

- Condulet Bodies shall be NEMA 3R raintight when installed with a cover and gasket.

- Conduit bodies when Iron made shall be protected with a three coat finish consisting of cadium, zinc and aluminum acrylic paint

- Conduit bodies shall have a rounded bottom that helps prevent the snagging of fish wire

- Conduit bodies when Iron made shall be able to be removed from an installation by cracking with a hammer

- Condulet Bodies shall be approved for Class I, Division 2 when installed in compliance with             NEC 501.10(B)(4)

- Condulet Bodies shall be approved for Class II, Division 1 when installed in accordance with  NEC 502.10(A)(3)

- Condulet Bodies shall be approved for Class II, Division 2 when installed in accordance with  NEC 502.10(B)(4)

PART 3 – EXECUTION

3.01	INSTALLATION

A.	Installation shall be in accordance with the NEC and CEC guidelines where applicable.

END OF SECTION